## Sorular_Açıklamalar
Name of the Project: Earthquake Reconstruction Framework Loan
Name of the Sub-Project: Construction of Akçakale-Harran Drinking Water Transmission Line
CLARIFICATIONS NO: 1
These ‘Clarifications’ have been published to provide clarification on certain aspects of the Tender Documentation in response to questions asked or clarifications requested at the pre-tender meeting, or to questions and requests for clarification submitted in writing by prospective Tenderers.
No. | Tender Document and Section | Clause in the Tender Document | Questions or Requests for Clarification from Prospective Tenderers | The Promoter’s Response | Is a change to the tender documentation required: YES or NO (If ‘YES’, please state the change number)
1 | Part 1 Section III, Evaluation and Qualification Criteria | 2.4 Experience | In the table under Section III “Evaluation and Qualification Criteria” of the RfB document, specifically in the table for Section 2.4.2 “Specific Experience,” the “Each Partner” column lists both “N/A” and “Must.” Could you please clarify which of these applies? | The term “Must” appearing in the “Each Partner” column under Section 2.4.2 “Specific Experience” was inadvertently included due to a formatting issue in the bidding document. For the avoidance of doubt, the applicable requirement is “N/A”. The term “Must” does not constitute an additional qualification requirement. Had a requirement been intended for each partner, the wording “Must meet requirement” would have been used. Accordingly, the “Each Partner” column under Section 2.4.2 shall be read as “N/A.” | NO
2 | Part 1 Section III, Evaluation and Qualification Criteria | 2.4 Experience | While subsection (b) of the same section (2.4.2) specifies that the required project completions must be in the “water transmission main/water distribution network/wastewater collector/wastewater collection network/stormwater network” sector, subsection (a) of 2.4.2 does not specify the sectors in which the required project completions must be. For criterion 2.4.2(a), will drinking water, sewer, or stormwater network projects be accepted? | The same similar experience requirement shall apply to both criteria 2.4.2(a) and 2.4.2(b). | NO
3 | Part 1 Section III, Evaluation and Qualification Criteria | 2.4 Experience | We kindly request that clarification be provided regarding sub-clause (a) of Article 2.4.2 (Qualification Criteria) of the tender specifications for the work titled Construction of Akçakale Harran Drinking Water Transmission Line – EIB-GtP/URF-AKH-W01, which will be tendered by your organization. | Please refer to The Promoter’s Response No.1 | NO
4 | Part 2 Section VI, Works Requirements | - | The Tender Documents state that 90% of the relevant unit price shall be paid upon the supply and installation of pipes and fittings, completion of connections, performance of the necessary tests, and completion of backfilling to make the system ready for operation, while the remaining 10% shall be paid upon completion of the reinstatement of the existing surfacing, such as paving stones, asphalt, etc., to a standard at least equivalent to the quality of the removed surfacing. We hereby object to this provision on the grounds that the reinstatement works for asphalt, paving stones and other types of surface covering should not be included in the unit price of the pipe laying works, nor should their cost be limited to 10% of the relevant unit price. The reinstatement of asphalt, paving stones and other surface coverings constitutes a separate and independent cost item from the pipe laying works, with costs varying significantly depending on the type and thickness of the existing pavement, required materials, trench width, existing road conditions, traffic conditions and applicable construction methods. In particular, the costs associated with asphalt reinstatement may constitute a significant portion of the overall construction cost and therefore cannot be accurately or fairly incorporated into the unit price of pipe laying works. Furthermore, the scope and quantities of reinstatement works may vary independently from the quantities of pipe laying works. Therefore, compensating such works as a fixed percentage of the pipe laying unit price does not accurately reflect the actual costs incurred for the reinstatement works. Accordingly, we request that the reinstatement of asphalt, paving stones and other surface coverings be separated from the pipe laying item and included as separate items in the Bill of Quantities (BoQ), with payment to be made separately based on the actual measured quantities of the respective reinstatement works. In this respect, we kindly request that the relevant provision in the Tender Documents and the Bill of Quantities be revised accordingly. | The payment provisions for the pipe laying works shall be applied as specified in the Tender Documents. The Tender Documents and the Bill of Quantities shall remain unchanged in this respect. | NO